1. Regular Self Inspection

Introduction:

Health, Safety and Environment will visit each lab once a year to assist in making each space as safe as possible. Other inspections in the laboratory should be done more frequently. Use the following check lists for self inspections. Rectify any deficiencies and record the results in the inspection log (document 2 in this section).

Daily Inspection:

- Each day, lab users should inspect their own space to identify and correct hazardous conditions or report them to their supervisor

Weekly Inspection:

- Laboratory apparel is appropriate (long pants, fully enclosed shoes, hair tied back).

- Check to ensure that PPE and safety equipment is available, clean and in good repair.

  - Is PPE being used?

  - Do gloves need to be ordered?

  - Turn on eye wash station and flush for 20 minutes. Check that flow is sufficient and regular.

- Good Housekeeping:

  - Food, drink and related containers are absent

  - Aisles and exits are clear and the floor is free from tripping hazards or debris.

  - Floors are clean.

  - Is lighting adequate and functioning.

  - Ensure that there are no octopus plugs in use.

  - Check for extended use of extension cords; they should only be used for temporary power.

  - There is adequate ventilation around all electrical equipment.

- Fume hoods are functioning and uncluttered.

  - Fume hoods are not used for storage.

  - Sash height is at or below marked height.

- Biosafety cabinet has been cleaned with effective decontaminate.

- Container size of flammables in the lab must be less than 25 litres (outside of the flammable storage cabinets).

  - Are all flammable storage containers smaller than 5 L?

  - Refrigerated flammables are in a marked flammable storage refrigerator.

- Are all gas cylinders securely fastened?

- Chemicals and wastes are properly segregated according to the chemical suitability guide and clearly labelled.

  - All chemicals and wastes are capped

  - Ethers are stored and used out of direct sunlight.

- Cleaning baths are labelled

Monthly InspectioN:

- Ensure that any new staff have been properly orientated to the lab and have a training record in the lab safety book.

- Check for leaky faucets.

- Check equipment for frayed cords or short circuits. Unplug unnecessary equipment

- Check autoclave log sheet to ensure that loads are being recorded correctly.

- All liquid chemicals are stored off the ground, but below shoulder height.

- Spill kit is available and stocked.

- Syringes and sharps are disposed of in sharps containers.

Quarterly Inspection:

- Check picric acid containers to ensure that the minimum moisture content is maintained.”

- Check for peroxide formation on:

  - di-isopropyl ether

  - sodium amide

  - Vinylidene

  - potassium metal

  - Divinyl acetylene

- Autoclave has been checked by facilities in the last 3 months.

Yearly Inspections:

- Check for peroxide formation on:

  - Dioxane

  - Diethyl ether

  - Tetrahydrofuran

  - Diglyme

  - Cyclohexane

  - Acryonitrile

  - Butadiene

  - Methyl methacrylate

  - Styrene

  - Tetralin

  - Vinyl chloride

  - Acrylic acid

- Ensure that all MSDS sheets are less than 3 years old.

- Check fire extinguishers to ensure that they have been inspected within the last 12 months

- Ensure that Facilities Management has tested the drench shower in the last 12 months

- Ensure that the fume hoods or Biological Safety Cabinets have been certified in the last 12 months.

- Is there a record of an HSE inspection in the last 12 months?

1. Self Inspection Records

Record the results of all inspections (except daily inspections). Any hazards found at times other than during inspections can also be recorded here. Keep records of completed inspections.

| Date | Inspector Name | Type of Inspection | Deficiencies | Solution & Date |
| --- | --- | --- | --- | --- |
|  |  | Weekly Monthly Quarterly Yearly |  |  |
|  |  | Weekly Monthly Quarterly Yearly |  |  |
|  |  | Weekly Monthly Quarterly Yearly |  |  |
|  |  | Weekly Monthly Quarterly Yearly |  |  |
|  |  | Weekly Monthly Quarterly Yearly |  |  |
|  |  | Weekly Monthly Quarterly Yearly |  |  |
|  |  | Weekly Monthly Quarterly Yearly |  |  |
|  |  | Weekly Monthly Quarterly Yearly |  |  |
|  |  | Weekly Monthly Quarterly Yearly |  |  |
|  |  | Weekly Monthly Quarterly Yearly |  |  |
|  |  | Weekly Monthly Quarterly Yearly |  |  |
|  |  | Weekly Monthly Quarterly Yearly |  |  |
|  |  | Weekly Monthly Quarterly Yearly |  |  |
|  |  | Weekly Monthly Quarterly Yearly |  |  |
|  |  | Weekly Monthly Quarterly Yearly |  |  |
|  |  | Weekly Monthly Quarterly Yearly |  |  |
|  |  | Weekly Monthly Quarterly Yearly |  |  |
|  |  | Weekly Monthly Quarterly Yearly |  |  |

# Footnotes

Flammables may not be stored in the lab in containers greater than 5 L.

See UBC Chemical Safety Manual for further information.

Every 3 months.

From BC Occupational Health and Safety Regulation, section 30.22.

See UBC Chemical Safety Manual for further information.

See UBC Chemical Safety Manual for more information.